## anti-hu IgG3 (8)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 1b, Kappa-Biotin.srbx
Analyte: anti-hu IgG3 (8)
Acquisition Date: 21-Mar-2014, 05:31 PM
Reader Serial Number: LX10013099403
Plate ID: 1
Signed By: Jessica Peel
Document ID: 2431ECCF98B44C6F8920F877ECA9A644
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
anti-hu IgG3 (8) | B | E11,F11 |  | 513 | 513 | 1.41 | 0.28 |  |  |  |  | 1
anti-hu IgG3 (8) | S1 | E1,F1 | Sigma IgG3 | 30766 | 30253 | 147.08 | 0.48 | OOR > | OOR > | 0.5 | *** | 1
anti-hu IgG3 (8) | S2 | E2,F2 | Sigma IgG3 | 30761.5 | 30248.5 | 71.42 | 0.23 | OOR > | OOR > | 0.16667 | *** | 1
anti-hu IgG3 (8) | S3 | E3,F3 | Sigma IgG3 | 30244.8 | 29731.8 | 80.96 | 0.27 | OOR > | 0.031829 | 0.055556 | 57 | 1
anti-hu IgG3 (8) | S4 | E4,F4 | Sigma IgG3 | 29553.8 | 29040.8 | 42.07 | 0.14 | 0.02 | 0.015381 | 0.018519 | 83 | 1
anti-hu IgG3 (8) | S5 | E5,F5 | Sigma IgG3 | 26661.3 | 26148.3 | 108.54 | 0.41 | 0.01 | 0.0061196 | 0.0061728 | 99 | 1
anti-hu IgG3 (8) | S6 | E6,F6 | Sigma IgG3 | 17596 | 17083 | 643.47 | 3.66 | 0 | 0.0020983 | 0.0020576 | 102 | 1
anti-hu IgG3 (8) | S7 | E7,F7 | Sigma IgG3 | 6917.3 | 6404.3 | 44.19 | 0.64 | 0 | 0.000667 | 0.0006859 | 97 | 1
anti-hu IgG3 (8) | S8 | E8,F8 | Sigma IgG3 | 2793.5 | 2280.5 | 13.44 | 0.48 | 0 | 0.0002436 | 0.0002286 | 107 | 1
anti-hu IgG3 (8) | S9 | E9,F9 | Sigma IgG3 | 1311 | 798 | 41.01 | 3.13 | 0 | 6.67e-05 | 7.62e-05 | 88 | 1
anti-hu IgG3 (8) | S10 | E10,F10 | Sigma IgG3 | 1073.8 | 560.8 | 353.91 | 32.96 | 0 | 3.03e-05 | 2.54e-05 | 119 | 1
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%
Conc In Range = 0.000 to 0.015 (equivalent to 560.8 to 29040.8 FI - Bkgd)
Regression Type: Logistic - 5PL
Std. Curve: FI = 418.182 + (30061.9 - 418.182) / ((1 + (Conc / 0.00221305)^-1.59002))^0.782161
FitProb. = 0.7991, ResVar. = 0.4698

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 1b, Kappa-Biotin.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 05:31 PM
Reader Serial Number: LX10013099403
Plate ID: 1
Signed By: Jessica Peel
Document ID: 2431ECCF98B44C6F8920F877ECA9A644
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | B | E11,F11 |  | 8.8 | 8.8 | 1.77 | 20.2 |  |  |  |  | 1
Blank (53) | S1 | E1,F1 | Sigma IgG3 | 8.8 | 0 | 1.06 | 12.12 | *** | 0.013587 | 0.5 | 3 | 1
Blank (53) | S2 | E2,F2 | Sigma IgG3 | 8.8 | 0 | 1.06 | 12.12 | *** | 0.013587 | 0.16667 | 8 | 1
Blank (53) | S3 | E3,F3 | Sigma IgG3 | 9 | 0.3 | 1.41 | 15.71 | *** | OOR < | 0.055556 | *** | 1
Blank (53) | S4 | E4,F4 | Sigma IgG3 | 7.3 | -1.5 | 1.06 | 14.63 | *** | OOR > | 0.018519 | *** | 1
Blank (53) | S5 | E5,F5 | Sigma IgG3 | 9.3 | 0.5 | 0.35 | 3.82 | *** | OOR < | 0.0061728 | *** | 1
Blank (53) | S6 | E6,F6 | Sigma IgG3 | 9.5 | 0.8 | 0.71 | 7.44 | *** | OOR < | 0.0020576 | *** | 1
Blank (53) | S7 | E7,F7 | Sigma IgG3 | 9.5 | 0.8 | 2.12 | 22.33 | *** | OOR < | 0.0006859 | *** | 1
Blank (53) | S8 | E8,F8 | Sigma IgG3 | 7.3 | -1.5 | 1.77 | 24.38 | *** | OOR > | 0.0002286 | *** | 1
Blank (53) | S9 | E9,F9 | Sigma IgG3 | 14.8 | 6 | 8.13 | 55.13 | *** | OOR < | 7.62e-05 | *** | 1
Blank (53) | S10 | E10,F10 | Sigma IgG3 | 8 | -0.8 | 1.41 | 17.68 | *** | OOR > | 2.54e-05 | *** | 1
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%
Regression Type: Logistic - 5PL
Std. Curve: FI = -0.428772 + (0.197278 + 0.428772) / ((1 + (Conc / 0.0145004)^47.2882))^8.39564
FitProb. = 0.0000, ResVar. = 26.5443