## p24 (19)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 1c, IgG3-Biotin.srbx
Analyte: p24 (19)
Acquisition Date: 21-Mar-2014, 05:41 PM
Reader Serial Number: LX10013099403
Plate ID: 1
Signed By: Jessica Peel
Document ID: AAD950523ECDF3C947C21FBF321E640D
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
p24 (19) | B | E12,F12 |  | 23.8 | 23.8 | 0.35 | 1.49 |  |  |  |  | 1
p24 (19) | X1 | G1,H1 | 101, 5, 09/03/2010 | 97.3 | 73.5 | 0.35 | 0.36 |  | *** |  |  | 40
p24 (19) | X2 | G2,H2 | 101, 6, 10/04/2010 | 64.8 | 41 | 3.89 | 6.01 |  | *** |  |  | 40
p24 (19) | X3 | G3,H3 | 101, 8, 12/23/2010 | 63 | 39.3 | 0 | 0 |  | *** |  |  | 40
p24 (19) | X4 | G4,H4 | 101, 9, 3/23/2011 | 76.3 | 52.5 | 10.25 | 13.45 |  | *** |  |  | 40
p24 (19) | X5 | G5,H5 | 102, 5, 09/20/2010 | 25729.5 | 25705.8 | 234.05 | 0.91 |  | *** |  |  | 40
p24 (19) | X6 | G6,H6 | 102, 6, 10/18/2010 | 24069.8 | 24046 | 112.78 | 0.47 |  | *** |  |  | 40
p24 (19) | X7 | G7,H7 | 102, 8, 1/10/2011 | 12001.5 | 11977.8 | 456.79 | 3.81 |  | *** |  |  | 40
p24 (19) | X8 | G8,H8 | 102, 9, 4/4/2011 | 29459.3 | 29435.5 | 69.65 | 0.24 |  | *** |  |  | 40
p24 (19) | X9 | G9,H9 | 103, 5, 09/20/2010 | 218 | 194.3 | 6.36 | 2.92 |  | *** |  |  | 40
p24 (19) | X10 | G10,H10 | 103, 6, 10/19/2010 | 203.3 | 179.5 | 3.18 | 1.57 |  | *** |  |  | 40
p24 (19) | X11 | G11,H11 | 103, 8, 1/11/2011 | 187.8 | 164 | 8.13 | 4.33 |  | *** |  |  | 40
p24 (19) | X12 | G12,H12 | 103, 9, 4/6/2011 | 157.5 | 133.8 | 25.46 | 16.16 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 1c, IgG3-Biotin.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 05:41 PM
Reader Serial Number: LX10013099403
Plate ID: 1
Signed By: Jessica Peel
Document ID: AAD950523ECDF3C947C21FBF321E640D
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | B | E12,F12 |  | 8.8 | 8.8 | 0.35 | 4.04 |  |  |  |  | 1
Blank (53) | X1 | G1,H1 | 101, 5, 09/03/2010 | 24.8 | 16 | 13.79 | 55.71 |  | *** |  |  | 40
Blank (53) | X2 | G2,H2 | 101, 6, 10/04/2010 | 12.8 | 4 | 0.35 | 2.77 |  | *** |  |  | 40
Blank (53) | X3 | G3,H3 | 101, 8, 12/23/2010 | 11 | 2.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X4 | G4,H4 | 101, 9, 3/23/2011 | 10.5 | 1.8 | 0.71 | 6.73 |  | *** |  |  | 40
Blank (53) | X5 | G5,H5 | 102, 5, 09/20/2010 | 21.5 | 12.8 | 2.12 | 9.87 |  | *** |  |  | 40
Blank (53) | X6 | G6,H6 | 102, 6, 10/18/2010 | 16 | 7.3 | 1.41 | 8.84 |  | *** |  |  | 40
Blank (53) | X7 | G7,H7 | 102, 8, 1/10/2011 | 21 | 12.3 | 1.41 | 6.73 |  | *** |  |  | 40
Blank (53) | X8 | G8,H8 | 102, 9, 4/4/2011 | 34 | 25.3 | 1.41 | 4.16 |  | *** |  |  | 40
Blank (53) | X9 | G9,H9 | 103, 5, 09/20/2010 | 234.3 | 225.5 | 13.79 | 5.89 |  | *** |  |  | 40
Blank (53) | X10 | G10,H10 | 103, 6, 10/19/2010 | 192 | 183.3 | 2.83 | 1.47 |  | *** |  |  | 40
Blank (53) | X11 | G11,H11 | 103, 8, 1/11/2011 | 163.5 | 154.8 | 13.44 | 8.22 |  | *** |  |  | 40
Blank (53) | X12 | G12,H12 | 103, 9, 4/6/2011 | 154 | 145.3 | 8.49 | 5.51 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%