## p24 (19)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 2, IgG3-Biotin.srbx
Analyte: p24 (19)
Acquisition Date: 21-Mar-2014, 05:13 PM
Reader Serial Number: LX10009043402
Plate ID: 2
Signed By: Jessica Peel
Document ID: 123D8E08DC622CFEB5A412F0A106B123
RP1 PMT (Volts): 706.96
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
p24 (19) | B | G12,H12 |  | 28 | 28 | 0 | 0 |  |  |  |  | 1
p24 (19) | X1 | A1,B1 | 104, 5, 09/20/2010 | 25656.3 | 25628.3 | 102.18 | 0.4 |  | *** |  |  | 40
p24 (19) | X2 | A2,B2 | 104, 6, 10/18/2010 | 18047.5 | 18019.5 | 996.31 | 5.52 |  | *** |  |  | 40
p24 (19) | X3 | A3,B3 | 104, 8, 1/14/2011 | 7203.5 | 7175.5 | 185.26 | 2.57 |  | *** |  |  | 40
p24 (19) | X4 | A4,B4 | 104, 9, 4/6/2011 | 4172.3 | 4144.3 | 140.36 | 3.36 |  | *** |  |  | 40
p24 (19) | X5 | A5,B5 | 105, 5, 09/28/2010 | 26363 | 26335 | 344.36 | 1.31 |  | *** |  |  | 40
p24 (19) | X6 | A6,B6 | 105, 6, 10/25/2010 | 24677.8 | 24649.8 | 86.62 | 0.35 |  | *** |  |  | 40
p24 (19) | X7 | A7,B7 | 105, 8, 1/18/2011 | 16385.8 | 16357.8 | 1296.48 | 7.91 |  | *** |  |  | 40
p24 (19) | X8 | A8,B8 | 105, 9, 4/13/2011 | 3154.3 | 3126.3 | 32.17 | 1.02 |  | *** |  |  | 40
p24 (19) | X9 | A9,B9 | 106, 5, 09/28/2010 | 38.3 | 10.3 | 3.89 | 10.17 |  | *** |  |  | 40
p24 (19) | X10 | A10,B10 | 106, 6, 10/26/2010 | 44.8 | 16.8 | 1.06 | 2.37 |  | *** |  |  | 40
p24 (19) | X11 | A11,B11 | 106, 8, 1/19/2011 | 50 | 22 | 1.41 | 2.83 |  | *** |  |  | 40
p24 (19) | X12 | A12,B12 | 106, 9, 4/11/2011 | 34.8 | 6.8 | 12.37 | 35.61 |  | *** |  |  | 40
p24 (19) | X13 | C1,D1 | 107, 5, 10/25/2010 | 15486.3 | 15458.3 | 90.16 | 0.58 |  | *** |  |  | 40
p24 (19) | X14 | C2,D2 | 107, 6, 11/22/2010 | 14825.8 | 14797.8 | 610.59 | 4.12 |  | *** |  |  | 40
p24 (19) | X15 | C3,D3 | 107, 8, 2/15/2011 | 12104 | 12076 | 29.7 | 0.25 |  | *** |  |  | 40
p24 (19) | X16 | C4,D4 | 107, 9, 5/9/2011 | 8915.3 | 8887.3 | 131.88 | 1.48 |  | *** |  |  | 40
p24 (19) | X17 | C5,D5 | 108, 5, 10/25/2010 | 27130.5 | 27102.5 | 41.01 | 0.15 |  | *** |  |  | 40
p24 (19) | X18 | C6,D6 | 108, 6, 11/22/2010 | 26509 | 26481 | 248.9 | 0.94 |  | *** |  |  | 40
p24 (19) | X19 | C7,D7 | 108, 8, 2/16/2011 | 24841.3 | 24813.3 | 32.17 | 0.13 |  | *** |  |  | 40
p24 (19) | X20 | C8,D8 | 108, 9, 5/11/2011 | 24311.3 | 24283.3 | 208.95 | 0.86 |  | *** |  |  | 40
p24 (19) | X21 | C9,D9 | 109, 5, 11/08/2010 | 23107.8 | 23079.8 | 518.66 | 2.24 |  | *** |  |  | 40
p24 (19) | X22 | C10,D10 | 109, 6, 12/08/2010 | 10959.8 | 10931.8 | 792.31 | 7.23 |  | *** |  |  | 40
p24 (19) | X23 | C11,D11 | 109, 8, 2/28/2011 | 1581.8 | 1553.8 | 5.3 | 0.34 |  | *** |  |  | 40
p24 (19) | X24 | C12,D12 | 109, 9, 5/23/2011 | 389.3 | 361.3 | 26.52 | 6.81 |  | *** |  |  | 40
p24 (19) | X25 | E1,F1 | 110, 5, 11/10/2010 | 80.3 | 52.3 | 1.06 | 1.32 |  | *** |  |  | 40
p24 (19) | X26 | E2,F2 | 110, 6, 12/07/2010 | 64.8 | 36.8 | 6.72 | 10.37 |  | *** |  |  | 40
p24 (19) | X27 | E3,F3 | 110, 8, 3/1/2011 | 87.8 | 59.8 | 5.3 | 6.04 |  | *** |  |  | 40
p24 (19) | X28 | E4,F4 | 110, 9, 5/24/2011 | 70 | 42 | 0 | 0 |  | *** |  |  | 40
p24 (19) | X29 | E5,F5 | 111, 5, 11/16/2010 | 44.3 | 16.3 | 6.72 | 15.18 |  | *** |  |  | 40
p24 (19) | X30 | E6,F6 | 111, 6, 12/14/2010 | 41 | 13 | 1.41 | 3.45 |  | *** |  |  | 40
p24 (19) | X31 | E7,F7 | 111, 8, 3/14/2011 | 44.3 | 16.3 | 3.89 | 8.79 |  | *** |  |  | 40
p24 (19) | X32 | E8,F8 | 111, 9, 6/1/2011 | 37.3 | 9.3 | 9.55 | 25.63 |  | *** |  |  | 40
p24 (19) | X33 | E9,F9 | 112, 5, 11/17/2010 | 24714.8 | 24686.8 | 349.66 | 1.41 |  | *** |  |  | 40
p24 (19) | X34 | E10,F10 | 112, 6, 12/15/2010 | 24397 | 24369 | 159.81 | 0.66 |  | *** |  |  | 40
p24 (19) | X35 | E11,F11 | 112, 8, 3/2/2011 | 23843.3 | 23815.3 | 55.51 | 0.23 |  | *** |  |  | 40
p24 (19) | X36 | E12,F12 | 112, 9, 6/1/2011 | 8072.3 | 8044.3 | 517.96 | 6.42 |  | *** |  |  | 40
p24 (19) | X37 | G1,H1 | 113, 5, 12/06/2010 | 19288.3 | 19260.3 | 8176.63 | 42.39 |  | *** |  |  | 40
p24 (19) | X38 | G2,H2 | 113, 6, 01/03/2011 | 24417.3 | 24389.3 | 92.98 | 0.38 |  | *** |  |  | 40
p24 (19) | X39 | G3,H3 | 113, 8, 3/29/2011 | 12913.8 | 12885.8 | 372.29 | 2.88 |  | *** |  |  | 40
p24 (19) | X40 | G4,H4 | 113, 9, 6/20/2011 | 2886.5 | 2858.5 | 29.7 | 1.03 |  | *** |  |  | 40
p24 (19) | X41 | G5,H5 | 114, 5, 12/07/2010 | 23560 | 23532 | 583.36 | 2.48 |  | *** |  |  | 40
p24 (19) | X42 | G6,H6 | 114, 6, 01/04/2011 | 21597.3 | 21569.3 | 838.28 | 3.88 |  | *** |  |  | 40
p24 (19) | X43 | G7,H7 | 114, 8, 3/29/2011 | 19138.8 | 19110.8 | 347.54 | 1.82 |  | *** |  |  | 40
p24 (19) | X44 | G8,H8 | 114, 9, 6/22/2011 | 18569.8 | 18541.8 | 748.47 | 4.03 |  | *** |  |  | 40
p24 (19) | X45 | G9,H9 | 115, 5, 12/10/2010 | 45.5 | 17.5 | 4.95 | 10.88 |  | *** |  |  | 40
p24 (19) | X46 | G10,H10 | 115, 6, 01/05/2011 | 42 | 14 | 7.07 | 16.84 |  | *** |  |  | 40
p24 (19) | X47 | G11,H11 | 115, 8, 3/30/2011 | 39.8 | 11.8 | 3.89 | 9.78 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 2, IgG3-Biotin.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 05:13 PM
Reader Serial Number: LX10009043402
Plate ID: 2
Signed By: Jessica Peel
Document ID: 123D8E08DC622CFEB5A412F0A106B123
RP1 PMT (Volts): 706.96
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | B | G12,H12 |  | 9.8 | 9.8 | 1.06 | 10.88 |  |  |  |  | 1
Blank (53) | X1 | A1,B1 | 104, 5, 09/20/2010 | 18.3 | 8.5 | 1.06 | 5.81 |  | *** |  |  | 40
Blank (53) | X2 | A2,B2 | 104, 6, 10/18/2010 | 16 | 6.3 | 1.41 | 8.84 |  | *** |  |  | 40
Blank (53) | X3 | A3,B3 | 104, 8, 1/14/2011 | 12.8 | 3 | 1.77 | 13.86 |  | *** |  |  | 40
Blank (53) | X4 | A4,B4 | 104, 9, 4/6/2011 | 12.5 | 2.8 | 2.12 | 16.97 |  | *** |  |  | 40
Blank (53) | X5 | A5,B5 | 105, 5, 09/28/2010 | 15 | 5.3 | 2.83 | 18.86 |  | *** |  |  | 40
Blank (53) | X6 | A6,B6 | 105, 6, 10/25/2010 | 13 | 3.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X7 | A7,B7 | 105, 8, 1/18/2011 | 16 | 6.3 | 4.95 | 30.94 |  | *** |  |  | 40
Blank (53) | X8 | A8,B8 | 105, 9, 4/13/2011 | 12 | 2.3 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X9 | A9,B9 | 106, 5, 09/28/2010 | 13 | 3.3 | 1.41 | 10.88 |  | *** |  |  | 40
Blank (53) | X10 | A10,B10 | 106, 6, 10/26/2010 | 12 | 2.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X11 | A11,B11 | 106, 8, 1/19/2011 | 12 | 2.3 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X12 | A12,B12 | 106, 9, 4/11/2011 | 12 | 2.3 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X13 | C1,D1 | 107, 5, 10/25/2010 | 18.3 | 8.5 | 0.35 | 1.94 |  | *** |  |  | 40
Blank (53) | X14 | C2,D2 | 107, 6, 11/22/2010 | 14.5 | 4.8 | 2.12 | 14.63 |  | *** |  |  | 40
Blank (53) | X15 | C3,D3 | 107, 8, 2/15/2011 | 13.5 | 3.8 | 0.71 | 5.24 |  | *** |  |  | 40
Blank (53) | X16 | C4,D4 | 107, 9, 5/9/2011 | 13.3 | 3.5 | 1.77 | 13.34 |  | *** |  |  | 40
Blank (53) | X17 | C5,D5 | 108, 5, 10/25/2010 | 20 | 10.3 | 1.41 | 7.07 |  | *** |  |  | 40
Blank (53) | X18 | C6,D6 | 108, 6, 11/22/2010 | 20.5 | 10.8 | 0.71 | 3.45 |  | *** |  |  | 40
Blank (53) | X19 | C7,D7 | 108, 8, 2/16/2011 | 20.5 | 10.8 | 2.12 | 10.35 |  | *** |  |  | 40
Blank (53) | X20 | C8,D8 | 108, 9, 5/11/2011 | 15 | 5.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X21 | C9,D9 | 109, 5, 11/08/2010 | 13.5 | 3.8 | 0.71 | 5.24 |  | *** |  |  | 40
Blank (53) | X22 | C10,D10 | 109, 6, 12/08/2010 | 13 | 3.3 | 1.41 | 10.88 |  | *** |  |  | 40
Blank (53) | X23 | C11,D11 | 109, 8, 2/28/2011 | 11.5 | 1.8 | 0.71 | 6.15 |  | *** |  |  | 40
Blank (53) | X24 | C12,D12 | 109, 9, 5/23/2011 | 12.5 | 2.8 | 0.71 | 5.66 |  | *** |  |  | 40
Blank (53) | X25 | E1,F1 | 110, 5, 11/10/2010 | 12.8 | 3 | 1.06 | 8.32 |  | *** |  |  | 40
Blank (53) | X26 | E2,F2 | 110, 6, 12/07/2010 | 14.3 | 4.5 | 1.06 | 7.44 |  | *** |  |  | 40
Blank (53) | X27 | E3,F3 | 110, 8, 3/1/2011 | 13.5 | 3.8 | 0.71 | 5.24 |  | *** |  |  | 40
Blank (53) | X28 | E4,F4 | 110, 9, 5/24/2011 | 12 | 2.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X29 | E5,F5 | 111, 5, 11/16/2010 | 13.5 | 3.8 | 2.12 | 15.71 |  | *** |  |  | 40
Blank (53) | X30 | E6,F6 | 111, 6, 12/14/2010 | 11 | 1.3 | 1.41 | 12.86 |  | *** |  |  | 40
Blank (53) | X31 | E7,F7 | 111, 8, 3/14/2011 | 13.5 | 3.8 | 0.71 | 5.24 |  | *** |  |  | 40
Blank (53) | X32 | E8,F8 | 111, 9, 6/1/2011 | 11.5 | 1.8 | 0.71 | 6.15 |  | *** |  |  | 40
Blank (53) | X33 | E9,F9 | 112, 5, 11/17/2010 | 20 | 10.3 | 1.41 | 7.07 |  | *** |  |  | 40
Blank (53) | X34 | E10,F10 | 112, 6, 12/15/2010 | 18 | 8.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X35 | E11,F11 | 112, 8, 3/2/2011 | 17.5 | 7.8 | 0.71 | 4.04 |  | *** |  |  | 40
Blank (53) | X36 | E12,F12 | 112, 9, 6/1/2011 | 13 | 3.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X37 | G1,H1 | 113, 5, 12/06/2010 | 16.3 | 6.5 | 1.77 | 10.88 |  | *** |  |  | 40
Blank (53) | X38 | G2,H2 | 113, 6, 01/03/2011 | 19.5 | 9.8 | 0.71 | 3.63 |  | *** |  |  | 40
Blank (53) | X39 | G3,H3 | 113, 8, 3/29/2011 | 19 | 9.3 | 1.41 | 7.44 |  | *** |  |  | 40
Blank (53) | X40 | G4,H4 | 113, 9, 6/20/2011 | 13.3 | 3.5 | 0.35 | 2.67 |  | *** |  |  | 40
Blank (53) | X41 | G5,H5 | 114, 5, 12/07/2010 | 18.5 | 8.8 | 2.12 | 11.47 |  | *** |  |  | 40
Blank (53) | X42 | G6,H6 | 114, 6, 01/04/2011 | 19 | 9.3 | 1.41 | 7.44 |  | *** |  |  | 40
Blank (53) | X43 | G7,H7 | 114, 8, 3/29/2011 | 17.5 | 7.8 | 3.54 | 20.2 |  | *** |  |  | 40
Blank (53) | X44 | G8,H8 | 114, 9, 6/22/2011 | 14.5 | 4.8 | 2.12 | 14.63 |  | *** |  |  | 40
Blank (53) | X45 | G9,H9 | 115, 5, 12/10/2010 | 11.8 | 2 | 0.35 | 3.01 |  | *** |  |  | 40
Blank (53) | X46 | G10,H10 | 115, 6, 01/05/2011 | 11.8 | 2 | 0.35 | 3.01 |  | *** |  |  | 40
Blank (53) | X47 | G11,H11 | 115, 8, 3/30/2011 | 12 | 2.3 | 1.41 | 11.79 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%