## p24 (19)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 3, IgG3-Biotin.srbx
Analyte: p24 (19)
Acquisition Date: 21-Mar-2014, 05:17 PM
Reader Serial Number: LX10011117403
Plate ID: 3
Signed By: Jessica Peel
Document ID: B3011B39EBFB9499842499FE46F93184
RP1 PMT (Volts): 717.22
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
p24 (19) | B | G12,H12 |  | 23.5 | 23.5 | 5.66 | 24.07 |  |  |  |  | 1
p24 (19) | X1 | A1,B1 | 115, 9, 6/22/2011 | 65 | 41.5 | 4.24 | 6.53 |  | *** |  |  | 40
p24 (19) | X2 | A2,B2 | 201, 5, 1/31/2011 | 29643.3 | 29619.8 | 239.36 | 0.81 |  | *** |  |  | 40
p24 (19) | X3 | A3,B3 | 201, 6, 2/28/2011 | 25859.3 | 25835.8 | 29.34 | 0.11 |  | *** |  |  | 40
p24 (19) | X4 | A4,B4 | 201, 8, 5/23/2011 | 5872.5 | 5849 | 40.31 | 0.69 |  | *** |  |  | 40
p24 (19) | X5 | A5,B5 | 201, 9, 8/15/2011 | 517 | 493.5 | 7.78 | 1.5 |  | *** |  |  | 40
p24 (19) | X6 | A6,B6 | 202, 5, 2/2/2011 | 32.3 | 8.8 | 0.35 | 1.1 |  | *** |  |  | 40
p24 (19) | X7 | A7,B7 | 202, 6, 3/2/2011 | 32.3 | 8.8 | 5.3 | 16.44 |  | *** |  |  | 40
p24 (19) | X8 | A8,B8 | 202, 8, 5/25/2011 | 32.3 | 8.8 | 3.89 | 12.06 |  | *** |  |  | 40
p24 (19) | X9 | A9,B9 | 202, 9, 8/11/2011 | 25.3 | 1.8 | 1.06 | 4.2 |  | *** |  |  | 40
p24 (19) | X10 | A10,B10 | 203, 5, 2/8/2011 | 32127.3 | 32103.8 | 78.84 | 0.25 |  | *** |  |  | 40
p24 (19) | X11 | A11,B11 | 203, 6, 3/7/2011 | 31670 | 31646.5 | 9.9 | 0.03 |  | *** |  |  | 40
p24 (19) | X12 | A12,B12 | 203, 8, 5/25/2011 | 25975.3 | 25951.8 | 5.3 | 0.02 |  | *** |  |  | 40
p24 (19) | X13 | C1,D1 | 203, 9, 8/22/2011 | 1605.3 | 1581.8 | 37.83 | 2.36 |  | *** |  |  | 40
p24 (19) | X14 | C2,D2 | 204, 5, 2/8/2011 | 37.8 | 14.3 | 6.72 | 17.79 |  | *** |  |  | 40
p24 (19) | X15 | C3,D3 | 204, 6, 3/7/2011 | 40.3 | 16.8 | 2.47 | 6.15 |  | *** |  |  | 40
p24 (19) | X16 | C4,D4 | 204, 8, 6/1/2011 | 47 | 23.5 | 12.73 | 27.08 |  | *** |  |  | 40
p24 (19) | X17 | C5,D5 | 204, 9, 8/24/2011 | 51.8 | 28.3 | 12.37 | 23.91 |  | *** |  |  | 40
p24 (19) | X18 | C6,D6 | 205, 5, 2/10/2011 | 48.8 | 25.3 | 1.77 | 3.63 |  | *** |  |  | 40
p24 (19) | X19 | C7,D7 | 205, 6, 3/8/2011 | 33.3 | 9.8 | 3.18 | 9.57 |  | *** |  |  | 40
p24 (19) | X20 | C8,D8 | 205, 8, 5/31/2011 | 34 | 10.5 | 2.12 | 6.24 |  | *** |  |  | 40
p24 (19) | X21 | C9,D9 | 205, 9, 8/23/2011 | 30 | 6.5 | 4.24 | 14.14 |  | *** |  |  | 40
p24 (19) | X22 | C10,D10 | 206, 5, 3/9/2011 | 32719.5 | 32696 | 3.54 | 0.01 |  | *** |  |  | 40
p24 (19) | X23 | C11,D11 | 206, 6, 4/4/2011 | 32717 | 32693.5 | 0 | 0 |  | *** |  |  | 40
p24 (19) | X24 | C12,D12 | 206, 8, 6/22/2011 | 22003.5 | 21980 | 448.31 | 2.04 |  | *** |  |  | 40
p24 (19) | X25 | E1,F1 | 206, 9, 9/15/2011 | 3527.8 | 3504.3 | 653.72 | 18.53 |  | *** |  |  | 40
p24 (19) | X26 | E2,F2 | 207, 5, 3/7/2011 | 29200.5 | 29177 | 639.22 | 2.19 |  | *** |  |  | 40
p24 (19) | X27 | E3,F3 | 207, 6, 4/5/2011 | 26832.8 | 26809.3 | 69.65 | 0.26 |  | *** |  |  | 40
p24 (19) | X28 | E4,F4 | 207, 8, 7/1/2011 | 23098 | 23074.5 | 599.63 | 2.6 |  | *** |  |  | 40
p24 (19) | X29 | E5,F5 | 207, 9, 9/23/2011 | 3922 | 3898.5 | 36.06 | 0.92 |  | *** |  |  | 40
p24 (19) | X30 | E6,F6 | 208, 5, 3/15/2011 | 96.5 | 73 | 8.49 | 8.79 |  | *** |  |  | 40
p24 (19) | X31 | E7,F7 | 208, 6, 4/6/2011 | 99.5 | 76 | 3.54 | 3.55 |  | *** |  |  | 40
p24 (19) | X32 | E8,F8 | 208, 8, 7/15/2011 | 64.3 | 40.8 | 13.79 | 21.46 |  | *** |  |  | 40
p24 (19) | X33 | E9,F9 | 208, 9, 9/29/2011 | 55.5 | 32 | 5.66 | 10.19 |  | *** |  |  | 40
p24 (19) | X34 | E10,F10 | 209, 5, 3/15/2011 | 32685.5 | 32662 | 38.89 | 0.12 |  | *** |  |  | 40
p24 (19) | X35 | E11,F11 | 209, 6, 4/12/2011 | 32466.8 | 32443.3 | 83.09 | 0.26 |  | *** |  |  | 40
p24 (19) | X36 | E12,F12 | 209, 8, 7/8/2011 | 23699 | 23675.5 | 1059.25 | 4.47 |  | *** |  |  | 40
p24 (19) | X37 | G1,H1 | 209, 9, 9/27/2011 | 9603.3 | 9579.8 | 377.24 | 3.93 |  | *** |  |  | 40
p24 (19) | X38 | G2,H2 | 210, 5, 3/22/2011 | 29670 | 29646.5 | 470.93 | 1.59 |  | *** |  |  | 40
p24 (19) | X39 | G3,H3 | 210, 6, 4/18/2011 | 25934 | 25910.5 | 241.12 | 0.93 |  | *** |  |  | 40
p24 (19) | X40 | G4,H4 | 210, 8, 7/12/2011 | 10496.8 | 10473.3 | 510.18 | 4.86 |  | *** |  |  | 40
p24 (19) | X41 | G5,H5 | 210, 9, 10/6/2011 | 1885.8 | 1862.3 | 25.81 | 1.37 |  | *** |  |  | 40
p24 (19) | X42 | G6,H6 | 211, 5, 4/13/2011 | 39 | 15.5 | 0.71 | 1.81 |  | *** |  |  | 40
p24 (19) | X43 | G7,H7 | 211, 6, 5/11/2011 | 42.8 | 19.3 | 4.6 | 10.75 |  | *** |  |  | 40
p24 (19) | X44 | G8,H8 | 211, 8, 8/1/2011 | 38.8 | 15.3 | 3.89 | 10.04 |  | *** |  |  | 40
p24 (19) | X45 | G9,H9 | 211, 9, 10/26/2011 | 31.3 | 7.8 | 0.35 | 1.13 |  | *** |  |  | 40
p24 (19) | X46 | G10,H10 | 212, 5, 4/26/2011 | 32049.8 | 32026.3 | 14.5 | 0.05 |  | *** |  |  | 40
p24 (19) | X47 | G11,H11 | 212, 6, 5/24/2011 | 30775 | 30751.5 | 133.64 | 0.43 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 3, IgG3-Biotin.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 05:17 PM
Reader Serial Number: LX10011117403
Plate ID: 3
Signed By: Jessica Peel
Document ID: B3011B39EBFB9499842499FE46F93184
RP1 PMT (Volts): 717.22
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | B | G12,H12 |  | 11.5 | 11.5 | 0.71 | 6.15 |  |  |  |  | 1
Blank (53) | X1 | A1,B1 | 115, 9, 6/22/2011 | 15 | 3.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X2 | A2,B2 | 201, 5, 1/31/2011 | 41.5 | 30 | 3.54 | 8.52 |  | *** |  |  | 40
Blank (53) | X3 | A3,B3 | 201, 6, 2/28/2011 | 34 | 22.5 | 1.41 | 4.16 |  | *** |  |  | 40
Blank (53) | X4 | A4,B4 | 201, 8, 5/23/2011 | 29 | 17.5 | 2.83 | 9.75 |  | *** |  |  | 40
Blank (53) | X5 | A5,B5 | 201, 9, 8/15/2011 | 38.5 | 27 | 3.54 | 9.18 |  | *** |  |  | 40
Blank (53) | X6 | A6,B6 | 202, 5, 2/2/2011 | 14 | 2.5 | 2.83 | 20.2 |  | *** |  |  | 40
Blank (53) | X7 | A7,B7 | 202, 6, 3/2/2011 | 15.5 | 4 | 0.71 | 4.56 |  | *** |  |  | 40
Blank (53) | X8 | A8,B8 | 202, 8, 5/25/2011 | 12.5 | 1 | 0.71 | 5.66 |  | *** |  |  | 40
Blank (53) | X9 | A9,B9 | 202, 9, 8/11/2011 | 13.3 | 1.8 | 1.77 | 13.34 |  | *** |  |  | 40
Blank (53) | X10 | A10,B10 | 203, 5, 2/8/2011 | 27.5 | 16 | 2.12 | 7.71 |  | *** |  |  | 40
Blank (53) | X11 | A11,B11 | 203, 6, 3/7/2011 | 28 | 16.5 | 5.66 | 20.2 |  | *** |  |  | 40
Blank (53) | X12 | A12,B12 | 203, 8, 5/25/2011 | 23 | 11.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X13 | C1,D1 | 203, 9, 8/22/2011 | 28 | 16.5 | 4.24 | 15.15 |  | *** |  |  | 40
Blank (53) | X14 | C2,D2 | 204, 5, 2/8/2011 | 14.5 | 3 | 0.71 | 4.88 |  | *** |  |  | 40
Blank (53) | X15 | C3,D3 | 204, 6, 3/7/2011 | 14.5 | 3 | 0.71 | 4.88 |  | *** |  |  | 40
Blank (53) | X16 | C4,D4 | 204, 8, 6/1/2011 | 16.5 | 5 | 2.12 | 12.86 |  | *** |  |  | 40
Blank (53) | X17 | C5,D5 | 204, 9, 8/24/2011 | 12.3 | 0.8 | 1.06 | 8.66 |  | *** |  |  | 40
Blank (53) | X18 | C6,D6 | 205, 5, 2/10/2011 | 15.5 | 4 | 2.12 | 13.69 |  | *** |  |  | 40
Blank (53) | X19 | C7,D7 | 205, 6, 3/8/2011 | 14 | 2.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X20 | C8,D8 | 205, 8, 5/31/2011 | 14 | 2.5 | 1.41 | 10.1 |  | *** |  |  | 40
Blank (53) | X21 | C9,D9 | 205, 9, 8/23/2011 | 12.8 | 1.3 | 1.77 | 13.86 |  | *** |  |  | 40
Blank (53) | X22 | C10,D10 | 206, 5, 3/9/2011 | 55.5 | 44 | 4.95 | 8.92 |  | *** |  |  | 40
Blank (53) | X23 | C11,D11 | 206, 6, 4/4/2011 | 47.8 | 36.3 | 5.3 | 11.11 |  | *** |  |  | 40
Blank (53) | X24 | C12,D12 | 206, 8, 6/22/2011 | 18 | 6.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X25 | E1,F1 | 206, 9, 9/15/2011 | 18 | 6.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X26 | E2,F2 | 207, 5, 3/7/2011 | 25.8 | 14.3 | 1.06 | 4.12 |  | *** |  |  | 40
Blank (53) | X27 | E3,F3 | 207, 6, 4/5/2011 | 23 | 11.5 | 1.41 | 6.15 |  | *** |  |  | 40
Blank (53) | X28 | E4,F4 | 207, 8, 7/1/2011 | 21.3 | 9.8 | 0.35 | 1.66 |  | *** |  |  | 40
Blank (53) | X29 | E5,F5 | 207, 9, 9/23/2011 | 27.8 | 16.3 | 8.13 | 29.3 |  | *** |  |  | 40
Blank (53) | X30 | E6,F6 | 208, 5, 3/15/2011 | 13.5 | 2 | 2.12 | 15.71 |  | *** |  |  | 40
Blank (53) | X31 | E7,F7 | 208, 6, 4/6/2011 | 13.5 | 2 | 0.71 | 5.24 |  | *** |  |  | 40
Blank (53) | X32 | E8,F8 | 208, 8, 7/15/2011 | 12.5 | 1 | 0.71 | 5.66 |  | *** |  |  | 40
Blank (53) | X33 | E9,F9 | 208, 9, 9/29/2011 | 11 | -0.5 | 1.41 | 12.86 |  | *** |  |  | 40
Blank (53) | X34 | E10,F10 | 209, 5, 3/15/2011 | 39.3 | 27.8 | 5.3 | 13.51 |  | *** |  |  | 40
Blank (53) | X35 | E11,F11 | 209, 6, 4/12/2011 | 36.5 | 25 | 4.95 | 13.56 |  | *** |  |  | 40
Blank (53) | X36 | E12,F12 | 209, 8, 7/8/2011 | 20.3 | 8.8 | 1.06 | 5.24 |  | *** |  |  | 40
Blank (53) | X37 | G1,H1 | 209, 9, 9/27/2011 | 18.5 | 7 | 2.12 | 11.47 |  | *** |  |  | 40
Blank (53) | X38 | G2,H2 | 210, 5, 3/22/2011 | 22.5 | 11 | 3.54 | 15.71 |  | *** |  |  | 40
Blank (53) | X39 | G3,H3 | 210, 6, 4/18/2011 | 20 | 8.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X40 | G4,H4 | 210, 8, 7/12/2011 | 15.5 | 4 | 1.41 | 9.12 |  | *** |  |  | 40
Blank (53) | X41 | G5,H5 | 210, 9, 10/6/2011 | 14 | 2.5 | 1.41 | 10.1 |  | *** |  |  | 40
Blank (53) | X42 | G6,H6 | 211, 5, 4/13/2011 | 11.5 | 0 | 0.71 | 6.15 |  | *** |  |  | 40
Blank (53) | X43 | G7,H7 | 211, 6, 5/11/2011 | 9 | -2.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X44 | G8,H8 | 211, 8, 8/1/2011 | 12.3 | 0.8 | 1.06 | 8.66 |  | *** |  |  | 40
Blank (53) | X45 | G9,H9 | 211, 9, 10/26/2011 | 10 | -1.5 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X46 | G10,H10 | 212, 5, 4/26/2011 | 28.5 | 17 | 0.71 | 2.48 |  | *** |  |  | 40
Blank (53) | X47 | G11,H11 | 212, 6, 5/24/2011 | 20 | 8.5 | 1.41 | 7.07 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%