## p24 (19)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 4, IgG3-Biotin.srbx
Analyte: p24 (19)
Acquisition Date: 21-Mar-2014, 06:43 PM
Reader Serial Number: LX10011117403
Plate ID: 4
Signed By:
Document ID:
RP1 PMT (Volts): 717.22
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
p24 (19) | B | G12,H12 |  | 30.8 | 30.8 | 4.6 | 14.95 |  |  |  |  | 1
p24 (19) | X1 | A1,B1 | 212, 8, 8/16/2011 | 5127.5 | 5096.8 | 201.53 | 3.93 |  | *** |  |  | 40
p24 (19) | X2 | A2,B2 | 212, 9, 11/15/2011 | 4587 | 4556.3 | 123.04 | 2.68 |  | *** |  |  | 40
p24 (19) | X3 | A3,B3 | 213, 5, 5/2/2011 | 32719 | 32688.3 | 0.71 | 0 |  | *** |  |  | 40
p24 (19) | X4 | A4,B4 | 213, 6, 6/8/2011 | 32710.5 | 32679.8 | 3.54 | 0.01 |  | *** |  |  | 40
p24 (19) | X5 | A5,B5 | 213, 8, 8/22/2011 | 15723 | 15692.3 | 86.27 | 0.55 |  | *** |  |  | 40
p24 (19) | X6 | A6,B6 | 213, 9, 11/11/2011 | 3717.8 | 3687 | 25.1 | 0.68 |  | *** |  |  | 40
p24 (19) | X7 | A7,B7 | 214, 5, 5/2/2011 | 32667 | 32636.3 | 48.08 | 0.15 |  | *** |  |  | 40
p24 (19) | X8 | A8,B8 | 214, 6, 5/31/2011 | 32403 | 32372.3 | 94.75 | 0.29 |  | *** |  |  | 40
p24 (19) | X9 | A9,B9 | 214, 8, 8/23/2011 | 2953.5 | 2922.8 | 101.12 | 3.42 |  | *** |  |  | 40
p24 (19) | X10 | A10,B10 | 214, 9, 11/18/2011 | 2206.3 | 2175.5 | 172.89 | 7.84 |  | *** |  |  | 40
p24 (19) | X11 | A11,B11 | 215, 5, 5/6/2011 | 79.3 | 48.5 | 4.6 | 5.8 |  | *** |  |  | 40
p24 (19) | X12 | A12,B12 | 215, 6, 6/6/2011 | 75.3 | 44.5 | 2.47 | 3.29 |  | *** |  |  | 40
p24 (19) | X13 | C1,D1 | 215, 8, 9/2/2011 | 67.8 | 37 | 3.18 | 4.7 |  | *** |  |  | 40
p24 (19) | X14 | C2,D2 | 215, 9, 11/11/2011 | 86.8 | 56 | 4.6 | 5.3 |  | *** |  |  | 40
p24 (19) | X15 | C3,D3 | 301, 5, 6/13/2011 | 43.8 | 13 | 3.18 | 7.27 |  | *** |  |  | 40
p24 (19) | X16 | C4,D4 | 301, 6, 7/11/2011 | 54.5 | 23.8 | 4.24 | 7.78 |  | *** |  |  | 40
p24 (19) | X17 | C5,D5 | 301, 8, 10/10/2011 | 52 | 21.3 | 1.41 | 2.72 |  | *** |  |  | 40
p24 (19) | X18 | C6,D6 | 301, 9, 12/21/2011 | 45 | 14.3 | 16.26 | 36.14 |  | *** |  |  | 40
p24 (19) | X19 | C7,D7 | 302, 5, 6/21/2011 | 50.3 | 19.5 | 3.18 | 6.33 |  | *** |  |  | 40
p24 (19) | X20 | C8,D8 | 302, 6, 7/19/2011 | 49.8 | 19 | 5.3 | 10.66 |  | *** |  |  | 40
p24 (19) | X21 | C9,D9 | 302, 8, 10/12/2011 | 38.3 | 7.5 | 1.06 | 2.77 |  | *** |  |  | 40
p24 (19) | X22 | C10,D10 | 302, 9, 1/5/2012 | 40.5 | 9.8 | 0.71 | 1.75 |  | *** |  |  | 40
p24 (19) | X23 | C11,D11 | 303, 5, 8/15/2011 | 4166.3 | 4135.5 | 257.74 | 6.19 |  | *** |  |  | 40
p24 (19) | X24 | C12,D12 | 303, 6, 9/12/2011 | 1117.3 | 1086.5 | 25.81 | 2.31 |  | *** |  |  | 40
p24 (19) | X25 | E1,F1 | 303, 8, 12/1/2011 | 86.5 | 55.8 | 1.41 | 1.63 |  | *** |  |  | 40
p24 (19) | X26 | E2,F2 | 303, 9, 2/29/2012 | 82.3 | 51.5 | 2.47 | 3.01 |  | *** |  |  | 40
p24 (19) | X27 | E3,F3 | 304, 5, 9/26/2011 | 11841 | 11810.3 | 57.98 | 0.49 |  | *** |  |  | 40
p24 (19) | X28 | E4,F4 | 304, 6, 10/24/2011 | 6404.3 | 6373.5 | 211.78 | 3.31 |  | *** |  |  | 40
p24 (19) | X29 | E5,F5 | 304, 8, 1/17/2012 | 2086.5 | 2055.8 | 84.15 | 4.03 |  | *** |  |  | 40
p24 (19) | X30 | E6,F6 | 304, 9, 4/16/2012 | 2455.5 | 2424.8 | 31.11 | 1.27 |  | *** |  |  | 40
p24 (19) | X31 | E7,F7 | 305, 5, 9/26/2011 | 25915 | 25884.3 | 330.22 | 1.27 |  | *** |  |  | 40
p24 (19) | X32 | E8,F8 | 305, 6, 10/24/2011 | 12974.3 | 12943.5 | 65.41 | 0.5 |  | *** |  |  | 40
p24 (19) | X33 | E9,F9 | 305, 8, 1/18/2012 | 978.8 | 948 | 26.52 | 2.71 |  | *** |  |  | 40
p24 (19) | X34 | E10,F10 | 305, 9, 4/17/2012 | 644.5 | 613.8 | 25.46 | 3.95 |  | *** |  |  | 40
p24 (19) | X35 | E11,F11 | 306, 5, 10/4/2011 | 17603 | 17572.3 | 595.38 | 3.38 |  | *** |  |  | 40
p24 (19) | X36 | E12,F12 | 306, 6, 11/1/2011 | 15353.8 | 15323 | 452.19 | 2.95 |  | *** |  |  | 40
p24 (19) | X37 | G1,H1 | 306, 8, 2/22/2012 | 608 | 577.3 | 1.41 | 0.23 |  | *** |  |  | 40
p24 (19) | X38 | G2,H2 | 306, 9, 4/19/2012 | 362.3 | 331.5 | 21.57 | 5.95 |  | *** |  |  | 40
p24 (19) | X39 | G3,H3 | 307, 5, 10/28/2011 | 10415.3 | 10384.5 | 264.81 | 2.54 |  | *** |  |  | 40
p24 (19) | X40 | G4,H4 | 307, 6, 11/29/2011 | 4065.5 | 4034.8 | 58.69 | 1.44 |  | *** |  |  | 40
p24 (19) | X42 | G6,H6 | 307, 9, 5/15/2012 | 286.8 | 256 | 32.17 | 11.22 |  | *** |  |  | 40
p24 (19) | X43 | G7,H7 | 308, 5, 11/2/2011 | 77.3 | 46.5 | 13.08 | 16.93 |  | *** |  |  | 40
p24 (19) | X44 | G8,H8 | 308, 6, 11/29/2011 | 63 | 32.3 | 0.71 | 1.12 |  | *** |  |  | 40
p24 (19) | X45 | G9,H9 | 308, 8, 2/24/2012 | 53.8 | 23 | 1.06 | 1.97 |  | *** |  |  | 40
p24 (19) | X46 | G10,H10 | 308, 9, 5/16/2012 | 51.5 | 20.8 | 2.12 | 4.12 |  | *** |  |  | 40
p24 (19) | X47 | G11,H11 | 309, 5, 11/7/2011 | 20177.3 | 20146.5 | 770.39 | 3.82 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 4, IgG3-Biotin.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 06:43 PM
Reader Serial Number: LX10011117403
Plate ID: 4
Signed By:
Document ID:
RP1 PMT (Volts): 717.22
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | B | G12,H12 |  | 13.8 | 13.8 | 2.47 | 18 |  |  |  |  | 1
Blank (53) | X1 | A1,B1 | 212, 8, 8/16/2011 | 16 | 2.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X2 | A2,B2 | 212, 9, 11/15/2011 | 12.8 | -1 | 1.06 | 8.32 |  | *** |  |  | 40
Blank (53) | X3 | A3,B3 | 213, 5, 5/2/2011 | 42.3 | 28.5 | 3.18 | 7.53 |  | *** |  |  | 40
Blank (53) | X4 | A4,B4 | 213, 6, 6/8/2011 | 89.8 | 76 | 0.35 | 0.39 |  | *** |  |  | 40
Blank (53) | X5 | A5,B5 | 213, 8, 8/22/2011 | 44 | 30.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X6 | A6,B6 | 213, 9, 11/11/2011 | 17 | 3.3 | 1.41 | 8.32 |  | *** |  |  | 40
Blank (53) | X7 | A7,B7 | 214, 5, 5/2/2011 | 29.5 | 15.8 | 3.54 | 11.98 |  | *** |  |  | 40
Blank (53) | X8 | A8,B8 | 214, 6, 5/31/2011 | 24.8 | 11 | 3.18 | 12.86 |  | *** |  |  | 40
Blank (53) | X9 | A9,B9 | 214, 8, 8/23/2011 | 16.8 | 3 | 0.35 | 2.11 |  | *** |  |  | 40
Blank (53) | X10 | A10,B10 | 214, 9, 11/18/2011 | 13 | -0.8 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X11 | A11,B11 | 215, 5, 5/6/2011 | 14.8 | 1 | 1.77 | 11.98 |  | *** |  |  | 40
Blank (53) | X12 | A12,B12 | 215, 6, 6/6/2011 | 14.5 | 0.8 | 0.71 | 4.88 |  | *** |  |  | 40
Blank (53) | X13 | C1,D1 | 215, 8, 9/2/2011 | 16.8 | 3 | 5.3 | 31.66 |  | *** |  |  | 40
Blank (53) | X14 | C2,D2 | 215, 9, 11/11/2011 | 17.5 | 3.8 | 2.12 | 12.12 |  | *** |  |  | 40
Blank (53) | X15 | C3,D3 | 301, 5, 6/13/2011 | 12.5 | -1.3 | 0.71 | 5.66 |  | *** |  |  | 40
Blank (53) | X16 | C4,D4 | 301, 6, 7/11/2011 | 17.5 | 3.8 | 7.78 | 44.45 |  | *** |  |  | 40
Blank (53) | X17 | C5,D5 | 301, 8, 10/10/2011 | 16.8 | 3 | 5.3 | 31.66 |  | *** |  |  | 40
Blank (53) | X18 | C6,D6 | 301, 9, 12/21/2011 | 17.5 | 3.8 | 6.36 | 36.37 |  | *** |  |  | 40
Blank (53) | X19 | C7,D7 | 302, 5, 6/21/2011 | 12 | -1.8 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X20 | C8,D8 | 302, 6, 7/19/2011 | 14 | 0.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X21 | C9,D9 | 302, 8, 10/12/2011 | 12 | -1.8 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X22 | C10,D10 | 302, 9, 1/5/2012 | 13 | -0.8 | 1.41 | 10.88 |  | *** |  |  | 40
Blank (53) | X23 | C11,D11 | 303, 5, 8/15/2011 | 19 | 5.3 | 2.83 | 14.89 |  | *** |  |  | 40
Blank (53) | X24 | C12,D12 | 303, 6, 9/12/2011 | 17 | 3.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X25 | E1,F1 | 303, 8, 12/1/2011 | 12 | -1.8 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X26 | E2,F2 | 303, 9, 2/29/2012 | 11.5 | -2.3 | 2.12 | 18.45 |  | *** |  |  | 40
Blank (53) | X27 | E3,F3 | 304, 5, 9/26/2011 | 18.8 | 5 | 4.6 | 24.51 |  | *** |  |  | 40
Blank (53) | X28 | E4,F4 | 304, 6, 10/24/2011 | 14 | 0.3 | 1.41 | 10.1 |  | *** |  |  | 40
Blank (53) | X29 | E5,F5 | 304, 8, 1/17/2012 | 16.5 | 2.8 | 2.12 | 12.86 |  | *** |  |  | 40
Blank (53) | X30 | E6,F6 | 304, 9, 4/16/2012 | 14 | 0.3 | 1.41 | 10.1 |  | *** |  |  | 40
Blank (53) | X31 | E7,F7 | 305, 5, 9/26/2011 | 47.5 | 33.8 | 2.12 | 4.47 |  | *** |  |  | 40
Blank (53) | X32 | E8,F8 | 305, 6, 10/24/2011 | 24.5 | 10.8 | 0.71 | 2.89 |  | *** |  |  | 40
Blank (53) | X33 | E9,F9 | 305, 8, 1/18/2012 | 16 | 2.3 | 1.41 | 8.84 |  | *** |  |  | 40
Blank (53) | X34 | E10,F10 | 305, 9, 4/17/2012 | 12.8 | -1 | 0.35 | 2.77 |  | *** |  |  | 40
Blank (53) | X35 | E11,F11 | 306, 5, 10/4/2011 | 37 | 23.3 | 2.83 | 7.64 |  | *** |  |  | 40
Blank (53) | X36 | E12,F12 | 306, 6, 11/1/2011 | 28 | 14.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X37 | G1,H1 | 306, 8, 2/22/2012 | 16 | 2.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X38 | G2,H2 | 306, 9, 4/19/2012 | 14 | 0.3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X39 | G3,H3 | 307, 5, 10/28/2011 | 32 | 18.3 | 4.24 | 13.26 |  | *** |  |  | 40
Blank (53) | X40 | G4,H4 | 307, 6, 11/29/2011 | 24.3 | 10.5 | 1.06 | 4.37 |  | *** |  |  | 40
Blank (53) | X42 | G6,H6 | 307, 9, 5/15/2012 | 30.3 | 16.5 | 10.96 | 36.23 |  | *** |  |  | 40
Blank (53) | X43 | G7,H7 | 308, 5, 11/2/2011 | 11 | -2.8 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X44 | G8,H8 | 308, 6, 11/29/2011 | 11.5 | -2.3 | 2.12 | 18.45 |  | *** |  |  | 40
Blank (53) | X45 | G9,H9 | 308, 8, 2/24/2012 | 10.5 | -3.3 | 2.12 | 20.2 |  | *** |  |  | 40
Blank (53) | X46 | G10,H10 | 308, 9, 5/16/2012 | 11.3 | -2.5 | 0.35 | 3.14 |  | *** |  |  | 40
Blank (53) | X47 | G11,H11 | 309, 5, 11/7/2011 | 26.8 | 13 | 2.47 | 9.25 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%