## p24 (19)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 5a, IgG3-Biotin_CORRECT.srbx
Analyte: p24 (19)
Acquisition Date: 21-Mar-2014, 06:47 PM
Reader Serial Number: LX10013099403
Plate ID: 5
Signed By:
Document ID:
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
p24 (19) | B | E1,F1 |  | 30.3 | 30.3 | 4.6 | 15.19 |  |  |  |  | 1
p24 (19) | X1 | A1,B1 | 309, 6, 12/12/2011 | 8902 | 8871.8 | 85.56 | 0.96 |  | *** |  |  | 40
p24 (19) | X2 | A2,B2 | 309, 8, 3/9/2012 | 1075.3 | 1045 | 1.06 | 0.1 |  | *** |  |  | 40
p24 (19) | X4 | A4,B4 | 310, 6, 1/31/2012 | 90.8 | 60.5 | 3.89 | 4.29 |  | *** |  |  | 40
p24 (19) | X5 | A5,B5 | 311, 5, 12/8/2011 | 197.3 | 167 | 8.84 | 4.48 |  | *** |  |  | 40
p24 (19) | X6 | A6,B6 | 311, 6, 1/5/2012 | 227.3 | 197 | 10.96 | 4.82 |  | *** |  |  | 40
p24 (19) | X7 | A7,B7 | 311, 8, 3/28/2012 | 227.8 | 197.5 | 18.74 | 8.23 |  | *** |  |  | 40
p24 (19) | X8 | A8,B8 | 311, 9, 6/21/2012 | 237.3 | 207 | 5.3 | 2.24 |  | *** |  |  | 40
p24 (19) | X9 | A9,B9 | 312, 5, 12/12/2011 | 42.3 | 12 | 8.84 | 20.92 |  | *** |  |  | 40
p24 (19) | X10 | A10,B10 | 312, 6, 1/9/2012 | 37.8 | 7.5 | 7.42 | 19.67 |  | *** |  |  | 40
p24 (19) | X11 | A11,B11 | 312, 8, 3/29/2012 | 44.3 | 14 | 6.01 | 13.58 |  | *** |  |  | 40
p24 (19) | X12 | A12,B12 | 312, 9, 6/28/2012 | 37.3 | 7 | 5.3 | 14.24 |  | *** |  |  | 40
p24 (19) | X13 | C1,D1 | 313, 5, 12/21/2011 | 29651.8 | 29621.5 | 72.48 | 0.24 |  | *** |  |  | 40
p24 (19) | X14 | C2,D2 | 313, 6, 1/17/2012 | 21045 | 21014.8 | 379.72 | 1.8 |  | *** |  |  | 40
p24 (19) | X15 | C3,D3 | 313, 8, 4/16/2012 | 5521.5 | 5491.3 | 265.87 | 4.82 |  | *** |  |  | 40
p24 (19) | X16 | C4,D4 | 313, 9, 6/29/2012 | 5140.5 | 5110.3 | 129.4 | 2.52 |  | *** |  |  | 40
p24 (19) | X17 | C5,D5 | 314, 5, 1/3/2012 | 24154.5 | 24124.3 | 560.74 | 2.32 |  | *** |  |  | 40
p24 (19) | X18 | C6,D6 | 314, 6, 1/18/2012 | 19893.5 | 19863.3 | 292.04 | 1.47 |  | *** |  |  | 40
p24 (19) | X19 | C7,D7 | 314, 8, 4/6/2012 | 1469.3 | 1439 | 172.18 | 11.72 |  | *** |  |  | 40
p24 (19) | X20 | C8,D8 | 314, 9, 7/6/2012 | 564.5 | 534.3 | 2.83 | 0.5 |  | *** |  |  | 40
p24 (19) | X21 | C9,D9 | 315, 5, 1/11/2012 | 20233.8 | 20203.5 | 435.22 | 2.15 |  | *** |  |  | 40
p24 (19) | X22 | C10,D10 | 315, 6, 2/6/2012 | 20041.8 | 20011.5 | 583.01 | 2.91 |  | *** |  |  | 40
p24 (19) | X23 | C11,D11 | 315, 8, 4/27/2012 | 3848.8 | 3818.5 | 7.42 | 0.19 |  | *** |  |  | 40
p24 (19) | X24 | C12,D12 | 315, 9, 7/20/2012 | 6134 | 6103.8 | 467.4 | 7.62 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 5a, IgG3-Biotin_CORRECT.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 06:47 PM
Reader Serial Number: LX10013099403
Plate ID: 5
Signed By:
Document ID:
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | B | E1,F1 |  | 10 | 10 | 0 | 0 |  |  |  |  | 1
Blank (53) | X1 | A1,B1 | 309, 6, 12/12/2011 | 20.5 | 10.5 | 0.71 | 3.45 |  | *** |  |  | 40
Blank (53) | X2 | A2,B2 | 309, 8, 3/9/2012 | 14.5 | 4.5 | 0.71 | 4.88 |  | *** |  |  | 40
Blank (53) | X4 | A4,B4 | 310, 6, 1/31/2012 | 9 | -1 | 1.41 | 15.71 |  | *** |  |  | 40
Blank (53) | X5 | A5,B5 | 311, 5, 12/8/2011 | 13 | 3 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X6 | A6,B6 | 311, 6, 1/5/2012 | 11.5 | 1.5 | 2.12 | 18.45 |  | *** |  |  | 40
Blank (53) | X7 | A7,B7 | 311, 8, 3/28/2012 | 10.5 | 0.5 | 0.71 | 6.73 |  | *** |  |  | 40
Blank (53) | X8 | A8,B8 | 311, 9, 6/21/2012 | 11.5 | 1.5 | 0.71 | 6.15 |  | *** |  |  | 40
Blank (53) | X9 | A9,B9 | 312, 5, 12/12/2011 | 11 | 1 | 1.41 | 12.86 |  | *** |  |  | 40
Blank (53) | X10 | A10,B10 | 312, 6, 1/9/2012 | 10.5 | 0.5 | 0.71 | 6.73 |  | *** |  |  | 40
Blank (53) | X11 | A11,B11 | 312, 8, 3/29/2012 | 12 | 2 | 1.41 | 11.79 |  | *** |  |  | 40
Blank (53) | X12 | A12,B12 | 312, 9, 6/28/2012 | 10.5 | 0.5 | 2.12 | 20.2 |  | *** |  |  | 40
Blank (53) | X13 | C1,D1 | 313, 5, 12/21/2011 | 60 | 50 | 4.24 | 7.07 |  | *** |  |  | 40
Blank (53) | X14 | C2,D2 | 313, 6, 1/17/2012 | 52 | 42 | 5.66 | 10.88 |  | *** |  |  | 40
Blank (53) | X15 | C3,D3 | 313, 8, 4/16/2012 | 35 | 25 | 4.24 | 12.12 |  | *** |  |  | 40
Blank (53) | X16 | C4,D4 | 313, 9, 6/29/2012 | 34 | 24 | 1.41 | 4.16 |  | *** |  |  | 40
Blank (53) | X17 | C5,D5 | 314, 5, 1/3/2012 | 34.8 | 24.8 | 2.47 | 7.12 |  | *** |  |  | 40
Blank (53) | X18 | C6,D6 | 314, 6, 1/18/2012 | 24 | 14 | 0 | 0 |  | *** |  |  | 40
Blank (53) | X19 | C7,D7 | 314, 8, 4/6/2012 | 15.5 | 5.5 | 2.12 | 13.69 |  | *** |  |  | 40
Blank (53) | X20 | C8,D8 | 314, 9, 7/6/2012 | 10.8 | 0.8 | 0.35 | 3.29 |  | *** |  |  | 40
Blank (53) | X21 | C9,D9 | 315, 5, 1/11/2012 | 23 | 13 | 2.83 | 12.3 |  | *** |  |  | 40
Blank (53) | X22 | C10,D10 | 315, 6, 2/6/2012 | 16.5 | 6.5 | 0.71 | 4.29 |  | *** |  |  | 40
Blank (53) | X23 | C11,D11 | 315, 8, 4/27/2012 | 13.5 | 3.5 | 0.71 | 5.24 |  | *** |  |  | 40
Blank (53) | X24 | C12,D12 | 315, 9, 7/20/2012 | 13 | 3 | 1.41 | 10.88 |  | *** |  |  | 40
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%