## Purified IgG3 (24)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 5b, IgG3-Biotin.srbx
Analyte: Purified IgG3 (24)
Acquisition Date: 21-Mar-2014, 07:13 PM
Reader Serial Number: LX10013099403
Plate ID: 5
Signed By: Jessica Peel
Document ID: 66D03E69D8607B303DF6DE3051387265
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Purified IgG3 (24) | X1 | E2,F2 | Detection | 31509.5 | 31509.5 | 70 | 0.22 |  | *** |  |  | 1
Purified IgG3 (24) | X2 | E3,F3 | NO Detection | 14.3 | 14.3 | 1.06 | 7.44 |  | *** |  |  | 1
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## Blank (53)
File Name: N:\Investigators\Tomaras\Laboratory\Luminex\Data\Administrator's Documents\Results JNP\DCVAX\20140321, CAVD, DCVAX, Set 4, Plate 5b, IgG3-Biotin.srbx
Analyte: Blank (53)
Acquisition Date: 21-Mar-2014, 07:13 PM
Reader Serial Number: LX10013099403
Plate ID: 5
Signed By: Jessica Peel
Document ID: 66D03E69D8607B303DF6DE3051387265
RP1 PMT (Volts): 719.41
RP1 Target: 16621
Analyte | Type | Well | Description | FI | FI - Bkgd | Std Dev | %CV | Conc in Range | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Dilution | Bead Count | Sampling Errors
Blank (53) | X1 | E2,F2 | Detection | 9.5 | 9.5 | 0.71 | 7.44 |  | *** |  |  | 1
Blank (53) | X2 | E3,F3 | NO Detection | 9.5 | 9.5 | 0.71 | 7.44 |  | *** |  |  | 1
Sampling Errors: 1 - Low bead #; 2 - Agg beads; 3 - Classify %; 4 - Region selection; 5 - Platform temperature
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%