## Slide 1: CAVD Study: Nussenzweig_PI_435
Assay: HIV-1 Binding Antibody Multiplex Assay (HIV-1 BAMA)
Envelope Proteins: 97 gp120/gp140 envelopes (Liao/Haynes PPF, DHVI)
Positive Controls: HIVIG, VRC01 mAb, and PGT121 Mature
Negative Controls: 3685 A (Anthrax mAb- S. Zolla-Pazner), Palivizumab (RSV mAb)
Test mAbs: IAMO I HCmut LCmut (50 µg/ml)
IAMO I HCmut LCgl (50 µg/ml)
IAMO I HCgl LCgl (50 µg/ml)
IAMO I HCgl LCmut (50 µg/ml)
Results:
Positive Controls and Negative Controls:
HIVIG and VRC01 mAb, positive controls
mAbs 3685A and Palivizumab, negative controls
IAMO I HCmut LCmut was positive for 77 envelope antigens:
  18 low binding
  38 moderate binding
  21 higher binding
  Positive differential binding to CD4 binding site
IAMO I HCmut LCgl was positive for 34 envelope antigens:
  29 low binding
  3 moderate binding
  2 higher binding
  Positive differential binding to CD4 binding site
IAMO I HCgl LCgl was positive for 16 envelope antigens:
  16 low binding
  0 moderate binding
  0 higher binding
IAMO I HCmut LCmut was positive for 46 envelope antigens:
  34 low binding
  10 moderate binding
  2 higher binding
Tomaras DHVI. 09 January 2015.Montefiori CAVD-VIMC

## Slide 2
CAVD Study: Nussenzweig_PI_435
Positive Antibody Binding Responses to gp120/gp140 Antigens
Tomaras DHVI. 09 January 2015.Montefiori CAVD-VIMC

## Slide 3
Tomaras DHVI. 09 January 2015.Montefiori CAVD-VIMC
EC50 Comparison of Positive Antibody Binding Responses to gp120/gp140 Antigens
CAVD Study: Nussenzweig_PI_435

## Slide 4
Apparent Affinity (EC50) IAMO I HCmut LCmut and IAMO I HCmut LCgl
CAVD Study: Nussenzweig_PI_435
Apparent Affinity (EC50)
VRC01 = 0.43 µg/ml
IAMO I HCmut LCmut= 0.085 µg/ml
IAMO I HCmut LCgl= 0.89 µg/ml
Apparent Affinity (EC50)
VRC01 = 2.69 µg/ml
IAMO I HCmut LCmut= 2.78 µg/ml
Apparent Affinity (EC50)
VRC01 = 0.36 µg/ml
IAMO I HCmut LCmut= 0.05 µg/ml
IAMO I HCmut LCgl= 3.18 µg/ml
Tomaras DHVI. 09 January 2015.Montefiori CAVD-VIMC

## Slide 5
CD4 Binding Site Differential Analysis
FI values <100 FI are set to 100 FI
Negative Antibody Responses to gp120/gp140 Antigens
CAVD Study: Nussenzweig_PI_435
CAVD Study: Nussenzweig_PI_435
Tomaras DHVI. 09 January 2015.Montefiori CAVD-VIMC
Positive Differential Binding >2.5

## Slide 6
HIV-1 BAMA: Nicole L. Yates, Jessica Peel, Tara McNair, Sheetal Sawant, Georgia Tomaras
Proteins: James Peacock, Larry Liao, Barton Haynes (Gates PPF)
mAb: John Mascola, Susan Zolla-Pazner
CAVIMC Project Management: Hongmei Gao, Kelli Greene
CAVIMC PI: David C. Montefiori
Bill & Melinda Gates Foundation Grants to Montefiori
Acknowledgements
Tomaras DHVI. 09 January 2015.Montefiori CAVD-VIMC